## Sheet1
Item Description | Quantity | UOM | Unit Cost | NOTES *price per gallon
Completely remove all fat, oil, or grease waste, other liquid waste, semi-solid or solid and residue from the grease trap when the grease trap is cleaned; and clean the grease trap the earlier of: (a) at least every three months; or (b) when 50 percent or more of the wetted height of the grease trap, as measured from the bottom of the grease trap to the invert of the outlet pipe, contains grease and solids. Cleaning a grease trap shall dispose of the waste removed from a grease trap in accordance with federal, state, and local regulations. CNP may establish other cleaning requirements for grease traps as necessary to protect the POTW or a portion of the sanitary sewer
Grease Trap Waste Haul & Disposal per gallon | 1 | GAL
Barrel Grease Removal - including any area spill clean up | 1 | EA
Septic Tank Cleaning | 1 | EA