## Phase I Sites
Region | Site Name | Site Address
Houston | Beltway 8 | 0 N SAM HOUSTON PKY E, HUMBLE, TX 77396
Fort Worth | Jim Wright | NW LOOP 820 & JIM WRIGHT FREE WAY, FORT WORTH, TX 76108
Permian Basin | Zeneta | West 3rd Street, Odessa, TX 79764
Instructions: The tab labeled "Phase 1 BOM" consists of two different manufacturers, Cisco & Meraki. IDEA Public Schools requires two bids per site, one for each manufacturer. IDEA Public Schools will select which manufacturer to proceed with, upon awarding the RFP/project. Only edit/modify the highlighted columns

## Phase 1 BOM
Meraki | [7 empty] | Cisco
Part Number | Description | Quantity | Unit Cost | Total Cost | Eligibility % | Eligible Total | Ineligible Total | Part Number | Description | Quantity | Unit Cost | Total Cost | Eligibility % | Eligible Total | Ineligible Total
AP's | [7 empty] | AP's
CW9164I-MR | Catalyst 9164I AP (W6E, tri-band 4x4) w/Meraki | 64 | 0 | 0 | 0% | 0 | 0 | CW9164I-MR | Catalyst 9164I AP (W6E, tri-band 4x4) w/Meraki | 64 | 0 | 0 | 0% | 0 | 0
CW9166I-MR | Catalyst 9166I AP (W6E, tri-band 4x4) w/Meraki | 11 | 0 | 0 | 0% | 0 | 0 | CW9166I-MR | Catalyst 9166I AP (W6E, tri-band 4x4) w/Meraki | 11 | 0 | 0 | 0% | 0 | 0
Switches | [7 empty] | Switches
MS355-48X2-HW | Meraki MS355-48X2 Stck Cld-Mngd 48GE, 16xmG UPOE Switch | 8 | 0 | 0 | 0% | 0 | 0 | C9300-48UXM-EDU | Catalyst 9300 48-port(12 mGig&36 2.5Gbps), K12 | 6 | 0 | 0 | 0% | 0 | 0
LIC-MS355-48X-5YR | Meraki MS355-48X Enterprise License and Support, 5 Year | 8 | 0 | 0 | 0% | 0 | 0 | PWR-C1-1100WAC-P/2 | 1100W AC 80+ platinum Config 1 Secondary Power Supply | 6 | 0 | 0 | 0% | 0 | 0
MA-PWR-1025WAC | Meraki 1025WAC PSU | 8 | 0 | 0 | 0% | 0 | 0 | SC9300UK9-173 | UNIVERSAL | 6 | 0 | 0 | 0% | 0 | 0
[8 empty] | NETWORK-PNP-LIC | Network Plug-n-Play Connect for zero-touch device deployment | 6 | 0 | 0 | 0% | 0 | 0
MS250-48FP-HW | Meraki MS250-48FP L3 Stck Cld-Mngd 48x GigE 740W PoE Switch | 8 | 0 | 0 | 0% | 0 | 0 | PWR-C1-1100WAC-P | 1100W AC 80+ platinum Config 1 Power Supply | 6 | 0 | 0 | 0% | 0 | 0
LIC-MS250-48FP-5YR | Meraki MS250-48FP Enterprise License and Support, 5YR | 8 | 0 | 0 | 0% | 0 | 0 | D-DNAS-EXT-S-T | Cisco DNA Spaces Extend Term License for Catalyst Switches | 6 | 0 | 0 | 0% | 0 | 0
MA-PWR-1025WAC | Meraki 1025WAC PSU | 8 | 0 | 0 | 0% | 0 | 0 | D-DNAS-EXT-S-3Y | Cisco DNA Spaces Extend for Catalyst Switching - 3Year | 6 | 0 | 0 | 0% | 0 | 0
[8 empty] | TE-EMBEDDED-T | Cisco ThousandEyes Enterprise Agent IBN Embedded | 6 | 0 | 0 | 0% | 0 | 0
MA-SFP-10GB-LRM | Meraki 10G Base LRM Multi-Mode | 12 | 0 | 0 | 0% | 0 | 0 | TE-EMBEDDED-T-3Y | ThousandEyes - Enterprise Agents | 6 | 0 | 0 | 0% | 0 | 0
SFP-10GB-LRM= | Cisco 10G Base LRM Multi-Mode | 12 | 0 | 0 | 0% | 0 | 0 | CAB-SPWR-30CM | Catalyst Stack Power Cable 30 CM | 6 | 0 | 0 | 0% | 0 | 0
MA-CBL-100G-3M | Meraki 100GbE QSFP Cable, 3 Meter | 4 | 0 | 0 | 0% | 0 | 0 | PI-LFAS-T | Prime Infrastructure Lifecycle & Assurance Term - Smart Lic | 6 | 0 | 0 | 0% | 0 | 0
MA-CBL-100G-1M | Meraki 100GbE QSFP Cable, 1 Meter | 6 | 0 | 0 | 0% | 0 | 0 | PI-LFAS-AP-T-3Y | PI Dev Lic for Lifecycle & Assurance Term 3Y | 6 | 0 | 0 | 0% | 0 | 0
MA-CBL-40G-3M | Meraki 40GbE QSFP Cable, 3 Meter | 4 | 0 | 0 | 0% | 0 | 0 | C9300-DNA-A-48 | C9300 DNA Advantage, 48-Port Term Licenses | 6 | 0 | 0 | 0% | 0 | 0
MA-CBL-40G-1M | Meraki 40GbE QSFP Cable, 1 Meter | 6 | 0 | 0 | 0% | 0 | 0 | C9300-DNA-A-48-3Y | C9300 DNA Advantage, 48-Port, 3 Year Term License | 6 | 0 | 0 | 0% | 0 | 0
[8 empty] | C9300-NM-8X | Catalyst 9300 8 x 10GE Network Module | 6 | 0 | 0 | 0% | 0 | 0
Core Switch | [7 empty] | STACK-T1-50CM | 50CM Type 1 Stacking Cable | 6 | 0 | 0 | 0% | 0 | 0
C9500-24Y4C-EDU | Catalyst 9500 24x1/10/25G and 4-port 40/100G, K12 | 1 | 0 | 0 | 0% | 0 | 0 | CAB-TA-NA | North America AC Type A Power Cable | 12 | 0 | 0 | 0% | 0 | 0
CON-SNTP-C9E5024U | SNTC-24X7X4 Catalyst 9500 24x10G, K12 (5 years) | 1 | 0 | 0 | 0% | 0 | 0 | TE-C9K-SW | TE agent for IOSXE on C9K | 6 | 0 | 0 | 0% | 0 | 0
C9K-PWR-650WAC-R/2 | 650W AC Config 4 Power Supply front to back cooling | 1 | 0 | 0 | 0% | 0 | 0 | C9300-SSD-NONE | No SSD Card Selected | 6 | 0 | 0 | 0% | 0 | 0
CAB-9K12A-NA | Power Cord, 125VAC 13A NEMA 5-15 Plug, North America | 2 | 0 | 0 | 0% | 0 | 0 | C9300-NW-A-48 | C9300 Network Advantage, 48-port license | 6 | 0 | 0 | 0% | 0 | 0
NETWORK-PNP-LIC | Network Plug-n-Play Connect for zero-touch device deployment | 1 | 0 | 0 | 0% | 0 | 0
SC9500HUK9-173 | Cisco Catalyst 9500H XE.17.3 UNIVERSAL | 1 | 0 | 0 | 0% | 0 | 0 | C9300-48P-EDU | Catalyst 9300 48-port PoE+, K12 | 12 | 0 | 0 | 0% | 0 | 0
C9K-F1-SSD-BLANK | Cisco pluggable SSD storage | 1 | 0 | 0 | 0% | 0 | 0 | PI-LFAS-T | Prime Infrastructure Lifecycle & Assurance Term - Smart Lic | 12 | 0 | 0 | 0% | 0 | 0
C9500-SSD-NONE | No SSD Card Selected | 1 | 0 | 0 | 0% | 0 | 0 | PI-LFAS-AP-T-3Y | PI Dev Lic for Lifecycle & Assurance Term 3Y | 12 | 0 | 0 | 0% | 0 | 0
C9500-NW-A | C9500 Network Stack, Advantage | 1 | 0 | 0 | 0% | 0 | 0 | CAB-SPWR-30CM | Catalyst Stack Power Cable 30 CM | 12 | 0 | 0 | 0% | 0 | 0
C9K-PWR-650WAC-R | 650W AC Config 4 Power Supply front to back cooling | 1 | 0 | 0 | 0% | 0 | 0 | PWR-C1-715WAC-P/2 | 715W AC 80+ platinum Config 1 SecondaryPower Supply | 12 | 0 | 0 | 0% | 0 | 0
C9K-T1-FANTRAY | Catalyst 9500 Type 4 front to back cooling Fan | 2 | 0 | 0 | 0% | 0 | 0 | C9300-DNA-A-48 | C9300 DNA Advantage, 48-Port Term Licenses | 12 | 0 | 0 | 0% | 0 | 0
PI-LFAS-T | Prime Infrastructure Lifecycle & Assurance Term - Smart Lic | 3 | 0 | 0 | 0% | 0 | 0 | C9300-DNA-A-48-3Y | C9300 DNA Advantage, 48-Port, 3 Year Term License | 12 | 0 | 0 | 0% | 0 | 0
PI-LFAS-AP-T-5Y | PI Dev Lic for Lifecycle & Assurance Term 5Y | 3 | 0 | 0 | 0% | 0 | 0 | TE-C9K-SW | TE agent for IOSXE on C9K | 12 | 0 | 0 | 0% | 0 | 0
[8 empty] | C9300-NM-8X | Catalyst 9300 8 x 10GE Network Module | 12 | 0 | 0 | 0% | 0 | 0
GLC-TE= | 1000BASE-T SFP transceiver module for Category 5 copper wire | 3 | 0 | 0 | 0% | 0 | 0 | CAB-TA-NA | North America AC Type A Power Cable | 24 | 0 | 0 | 0% | 0 | 0
[8 empty] | D-DNAS-EXT-S-T | Cisco DNA Spaces Extend Term License for Catalyst Switches | 12 | 0 | 0 | 0% | 0 | 0
UPS | [7 empty] | D-DNAS-EXT-S-3Y | Cisco DNA Spaces Extend for Catalyst Switching - 3Year | 12 | 0 | 0 | 0% | 0 | 0
9PX3000RT-L | 9PX 3000 120V RT LI-ION PERP 9PX 3000 120V RT LI-ION | 4 | 0 | 0 | 0% | 0 | 0 | TE-EMBEDDED-T | Cisco ThousandEyes Enterprise Agent IBN Embedded | 12 | 0 | 0 | 0% | 0 | 0
NETWORK-M2 | Eaton Gigabit Network Card | 4 | 0 | 0 | 0% | 0 | 0 | TE-EMBEDDED-T-3Y | ThousandEyes - Enterprise Agents | 12 | 0 | 0 | 0% | 0 | 0
PDU1220 | Tripp Lite Rack Mount PDU | 4 | 0 | 0 | 0% | 0 | 0 | C9300-NW-A-48 | C9300 Network Advantage, 48-port license | 12 | 0 | 0 | 0% | 0 | 0
SRDRAWER4U | Tripp Lite Rack Lockable Drawer | 1 | 0 | 0 | 0% | 0 | 0 | PWR-C1-715WAC-P | 715W AC 80+ platinum Config 1 Power Supply | 12 | 0 | 0 | 0% | 0 | 0
[8 empty] | C9300-SSD-NONE | No SSD Card Selected | 12 | 0 | 0 | 0% | 0 | 0
[8 empty] | STACK-T1-50CM | 50CM Type 1 Stacking Cable | 12 | 0 | 0 | 0% | 0 | 0
|  |  | Sub Total | 0 | Sub Total | 0 | 0 | NETWORK-PNP-LIC | Network Plug-n-Play Connect for zero-touch device deployment | 12 | 0 | 0 | 0% | 0 | 0
|  |  | Site Sub Total |  |  |  |  | SC9300UK9-173 | UNIVERSAL | 12 | 0 | 0 | 0% | 0 | 0
[8 empty] | SFP-10GB-LRM= | Cisco 10G Base LRM Multi-Mode | 20 | 0 | 0 | 0% | 0 | 0
Tax Total
|  |  | Project Total |  |  |  |  | Core Switch
[8 empty] | C9500-24Y4C-EDU | Catalyst 9500 24x1/10/25G and 4-port 40/100G, K12 | 1 | 0 | 0 | 0% | 0 | 0
[8 empty] | CON-SNTP-C9E5024U | SNTC-24X7X4 Catalyst 9500 24x10G, K12 (5 years) | 1 | 0 | 0 | 0% | 0 | 0
[8 empty] | C9K-PWR-650WAC-R/2 | 650W AC Config 4 Power Supply front to back cooling | 1 | 0 | 0 | 0% | 0 | 0
[8 empty] | CAB-9K12A-NA | Power Cord, 125VAC 13A NEMA 5-15 Plug, North America | 2 | 0 | 0 | 0% | 0 | 0
[8 empty] | NETWORK-PNP-LIC | Network Plug-n-Play Connect for zero-touch device deployment | 1 | 0 | 0 | 0% | 0 | 0
[8 empty] | SC9500HUK9-173 | Cisco Catalyst 9500H XE.17.3 UNIVERSAL | 1 | 0 | 0 | 0% | 0 | 0
[8 empty] | C9K-F1-SSD-BLANK | Cisco pluggable SSD storage | 1 | 0 | 0 | 0% | 0 | 0
[8 empty] | C9500-SSD-NONE | No SSD Card Selected | 1 | 0 | 0 | 0% | 0 | 0
[8 empty] | C9500-NW-A | C9500 Network Stack, Advantage | 1 | 0 | 0 | 0% | 0 | 0
[8 empty] | C9K-PWR-650WAC-R | 650W AC Config 4 Power Supply front to back cooling | 1 | 0 | 0 | 0% | 0 | 0
[8 empty] | C9K-T1-FANTRAY | Catalyst 9500 Type 4 front to back cooling Fan | 2 | 0 | 0 | 0% | 0 | 0
[8 empty] | PI-LFAS-T | Prime Infrastructure Lifecycle & Assurance Term - Smart Lic | 3 | 0 | 0 | 0% | 0 | 0
[8 empty] | PI-LFAS-AP-T-5Y | PI Dev Lic for Lifecycle & Assurance Term 5Y | 3 | 0 | 0 | 0% | 0 | 0
[8 empty] | GLC-TE= | 1000BASE-T SFP transceiver module for Category 5 copper wire | 3 | 0 | 0 | 0% | 0 | 0
UPS
[8 empty] | 9PX3000RT-L | 9PX 3000 120V RT LI-ION PERP 9PX 3000 120V RT LI-ION | 4 | 0 | 0 | 0% | 0 | 0
[8 empty] | NETWORK-M2 | Eaton Gigabit Network Card | 4 | 0 | 0 | 0% | 0 | 0
[8 empty] | PDU1220 | Tripp Lite Rack Mount PDU | 4 | 0 | 0 | 0% | 0 | 0
[8 empty] | SRDRAWER4U | Tripp Lite Rack Lockable Drawer | 1 | 0 | 0 | 0% | 0 | 0
[11 empty] | Sub Total | 0 | Sub Total | 0 | 0
Site Sub Total
Tax Total
Project Total