## Pricing Sheet
Attachment S - RFP #03-EQRP-0925
Equipment Repair
Line Item | Category | Item Name | Description | Preventative Maintenance / Repair | Forecasted QTY | Unit Price | Extended Cost | Notes
Preventative Maintenance and Repairs for Walk in Freezer
1 | Preventative Maintenance | Walk in Freezer |  | Clean condenser and air filter
2 | Preventative Maintenance | Walk in Freezer |  | Check evaporator coil
3 | Preventative Maintenance | Walk in Freezer |  | Check door gaskets
4 | Preventative Maintenance | Walk in Freezer |  | Check and clean air filters
5 | Preventative Maintenance | Walk in Freezer |  | Replace filters
6 | Preventative Maintenance | Walk in Freezer |  | Check system for leaks
7 | Preventative Maintenance | Walk in Freezer |  | Clean drain pan and tubes
8 | Repair | Walk in Freezer |  | Evaporator Coil issues | 9
9 | Repair | Walk in Freezer |  | Ice build up | 9
10 | Repair | Walk in Freezer |  | Drain line Blockage | 1
11 | Repair | Walk in Freezer |  | Defrost System Malfunction | 2
12 | Repair | Walk in Freezer |  | Compressor Failure | 6
13 | Repair | Walk in Freezer |  | Fan Motor Failure | 11
14 | Repair | Walk in Freezer |  | Refrigerant Leak | 4
15 | Repair | Walk in Freezer |  | Door Seal/Gasket damage | 4
16 | Repair | Walk in Freezer |  | Faulty door switches
17 | Repair | Walk in Freezer |  | Control board failure
Preventative Maintenance and Repairs for Walk in Cooler
18 | Preventative Maintenance | Walk in Cooler |  | Clean condenser and air filter
19 | Preventative Maintenance | Walk in Cooler |  | Check evaporator coil
20 | Preventative Maintenance | Walk in Cooler |  | Check door gaskets
21 | Preventative Maintenance | Walk in Cooler |  | Check and clean air filters
22 | Preventative Maintenance | Walk in Cooler |  | Replace filters
23 | Preventative Maintenance | Walk in Cooler |  | Check system for leaks
24 | Preventative Maintenance | Walk in Cooler |  | Clean drain pan and tubes
25 | Repair | Walk in Cooler |  | Evaporator Coil issues | 4
26 | Repair | Walk in Cooler |  | Ice or frost build up | 4
27 | Repair | Walk in Cooler |  | Compressor Failure | 7
28 | Repair | Walk in Cooler |  | Refrigerant Leak | 6
29 | Repair | Walk in Cooler |  | Defrost System Malfunction | 1
30 | Repair | Walk in Cooler |  | Fan Motor Failure | 3
31 | Repair | Walk in Cooler |  | Door Seal/Gasket damage | 1
Preventative Maintenance and Repairs for Ice Machine
32 | Preventative Maintenance | Ice Machine |  | Clean condenser and air filter
33 | Preventative Maintenance | Ice Machine |  | Clean and sanitize
34 | Preventative Maintenance | Ice Machine |  | Check and clean air filters
35 | Preventative Maintenance | Ice Machine |  | Replace filters
36 | Preventative Maintenance | Ice Machine |  | Check water fittings for leaks
37 | Preventative Maintenance | Ice Machine |  | Clean water curtains
38 | Preventative Maintenance | Ice Machine |  | Inspection of tubing
39 | Repair | Ice Machine |  | Scale and Mineral Build up | 2
40 | Repair | Ice Machine |  | Water Line Blockages | 4
41 | Repair | Ice Machine |  | Bin Thermostat Failure | 3
42 | Repair | Ice Machine |  | Electrical Failures | 3
43 | Repair | Ice Machine |  | Condenser Coil Problems | 2
44 | Repair | Ice Machine |  | Pump or Motor Failures | 1
45 | Repair | Ice Machine |  | Compressor Issues | 2
Preventative Maintenance and Repairs for Ovens-Convection
46 | Preventative Maintenance | Ovens- Convection |  | Check and replace lamps
47 | Preventative Maintenance | Ovens- Convection |  | Check ventilation
48 | Preventative Maintenance | Ovens- Convection |  | Check drain supplies and connection
49 | Preventative Maintenance | Ovens- Convection |  | Verify thermostat operation
50 | Preventative Maintenance | Ovens- Convection |  | Libricate lid lift mechanism
51 | Preventative Maintenance | Ovens- Convection |  | Check functional parts of operation: doors, lids, valves
52 | Repair | Ovens- Convection |  | Control panel faults
53 | Repair | Ovens- Convection |  | Ignition System Problems | 2
54 | Repair | Ovens- Convection |  | Door Gasket Wear | 1
55 | Repair | Ovens- Convection |  | Thermostat malfunction or miscalibration | 6
56 | Repair | Ovens- Convection |  | Fan Motor Burnout | 1
57 | Repair | Ovens- Convection |  | Blower Motor Failure | 2
58 | Repair | Ovens- Convection |  | Heating Element Burnout | 3
Preventative Maintenance and Repairs for Tilt Skillet/ Braising Pans
59 | Preventative Maintenance | Tilt Skillet |  | Libricate lid lift mechanism
60 | Preventative Maintenance | Tilt Skillet |  | Clean and adjust tilting skillet, hinges
61 | Preventative Maintenance | Tilt Skillet |  | Check the flue - for grease build up
62 | Preventative Maintenance | Tilt Skillet |  | Clean the flue if needed
63 | Preventative Maintenance | Tilt Skillet |  | Check and replace, if needed, water line connections and water filter
64 | Preventative Maintenance | Tilt Skillet |  | Check heating elements
65 | Preventative Maintenance | Tilt Skillet |  | Check faucet for tightness
66 | Repair | Tilt Skillet |  | Electrical Problems | 2
67 | Repair | Tilt Skillet |  | Heating Element or Burner Failure | 4
68 | Repair | Tilt Skillet |  | Lid and Handle Issues | 2
69 | Repair | Tilt Skillet |  | Leaking or Malfunction Drain Valve | 1
Preventative Maintenance and Repairs for Ovens-Combi
70 | Preventative Maintenance | Ovens- Combi |  | Inspect door hinges, latches, and springs
71 | Preventative Maintenance | Ovens- Combi |  | Inspect control panel for wear and malfunctions
72 | Preventative Maintenance | Ovens- Combi |  | Check and clean water and drain filters
73 | Preventative Maintenance | Ovens- Combi |  | Replace filters
74 | Preventative Maintenance | Ovens- Combi |  | Check heating elements
75 | Repair | Ovens- Combi |  | Broken hinges or springs | 1
76 | Repair | Ovens- Combi |  | Control Panel Issues | 2
77 | Repair | Ovens- Combi |  | Ignition System Problems | 1
78 | Repair | Ovens- Combi |  | Water leaks | 1
Rates
79 |  | Hourly Rate
80 |  | Hourly Rate - After Hours

## Campus Locations
Attachment "S" - Campus Locations
Region | Campus | Address | Service Y/N
Upper Rio Grande Valley | Idea Quest | 14001 N Rooth Rd, Edinburg, TX 78541
| Idea Mission | 1600 S Schuerbach Rd, Mission, TX 78572
| Idea Mcallen | 201 N Bentsen Rd, McAllen, TX 78501
| Idea North Mission | 2706 N Holland Ave, Mission, TX 78574
| Idea Rio Grande City | 2803 Monarch Ln, Rio Grande City, TX 78582
| Idea Tres Lagos | 5200 Tres Lagos Blvd, McAllen, TX 78504
| Idea Los Encinos | 5400 S Ware Rd, McAllen, TX 78503
| Idea Palmview | 4100 N Schuerbach Rd, Palmview, TX 78572
| Idea La Joya | 725 E Expressway 83, La Joya, TX 78560
Middle Rio Grande Valley | Idea Donna | 401 S 1st St, Donna, TX 78537
| Idea San Juan Academy | 200 N. Nebraska Ave. San Juan, Texas 78589
| Idea San Juan College Prep | 600 E. Sioux Rd. San Juan, Texas 78589
| Idea Pharr | 600 E. Las Milpas Rd. Pharr, Texas 78577
| Idea Alamo | 325 Kansas Rd, Alamo, TX 78516
| Idea Edinburg | 2753 N. Roegiers Rd. Edinburg, Texas 78541
| Idea Toros College Prep | 3300 East Texas Road Edinburg, Texas 78542
| Idea Owassa | 1000 East Owassa Road Pharr, Texas 78577
| Idea Elsa | 411 South Fannin Elsa, Texas 78543
Lower Rio Grande Valley | Idea Frontier | 2800 S. Dakota Ave. Brownsville, Texas 78521
| Idea San Benito | 2151 Russell Ln. San Benito, Texas 78586
| Idea Weslaco | 2931 E Sugar Cane Dr. Weslaco, Texas 78599
| Idea Brownsville | 4395 Paredes Line Road Brownsville, Texas 78526
| Idea Weslaco Pike | 1000 E Pike Blvd. Weslaco, Texas 78596
| Idea Riverview | 30 Palm Blvd. Brownsville, Texas 78520
| Idea Robindale | 3802 E. Ruben Torres Sr. Blvd Brownsville, Texas 78521
| Idea Harlingen | 24240 Chester Park Rd. Harlingen, Texas 78552
| Idea Sports Park | 6650 Old Alice Rd. Brownsville, Texas 78526
East San Antonio | Idea Carver | 217 Robinson Pl. San Antonio, Texas 78202
| Idea Monterrey Park | 222 SW 39th St. San Antonio, Texas 78237
| Idea Walzem | 6445 Walzem Rd. San Antonio, Texas 78239
| Idea Eastside | 2519 Martin Luther King Dr. San Antonio, Texas 78203
| Idea Judson | 13427 Judson Rd. San Antonio, Texas 78233
| Idea Converse | 5490 FM 1516 Converse, Texas 78109
| Idea Harvey E. Najim | 926 S WW White Rd. San Antonio, Texas 78220
West San Antonio | Idea Mays | 1210 Horal Dr. San Antonio, Texas 78245
| Idea Ewing Halsell | 2523 W Ansley Blvd. San Antonio, Texas 78224
| Idea South Flores | 6919 S Flores St. San Antonio, Texas 78221
| Idea Brackenridge | 5555 Old Pearsall Rd San Antonio, TX 78242
| Idea Ingram Hills | 3115 Majestic Dr. San Antonio, Texas 78228
| Idea Burke | 10434 Marbach Rd San Antonio, Texas 78245
| Idea Hidden Meadow | 10138 Culebra Rd. San Antonio, Texas 78251
| Idea Ambrose & Freda Robinson | 10170 Kriewald Road San Antonio, TX 78245
Austin | Idea Montopolis | 1701 Vargas Road Austin, Texas 78741
| Idea Rundberg | 9504 North Interstate 35 Frontage Road Austin, Texas 78753
| Idea Bluff Springs | 1700 E. Slaughter Lane Austin, Texas 78747
| Idea Pflugerville | 1901 E Wells Branch Pkwy Pflugerville, Texas 78660
| Idea Kyle | 640 Philomena Dr. Kyle, Texas 78640
| Idea Health Professions | 5816 Wilcab Austin, Texas 78721
| Idea Parmer Park | 1438 East Yager Lane Austin, Texas 78753
| Idea Round Rock | 3301 Greenlawn Blvd Round Rock, Texas 78664
El Paso | Idea Rio Vista | 210 N Rio Vista Rd Socorro, Texas 79927
| Idea Edgemere | 15101 Edgemere Blvd. El Paso, Texas 79938
| Idea Mesa Hills | 405 Wallenberg Dr. El Paso, Texas 79912
| Idea Horizon Vista | 201 Horizon Crossing St. Horizon City, Texas 79928
| Idea Mesquite Hills | 11881 Dyer St., El Paso, Texas 79934
Permian Basin | Idea Travis | 900 E Gist Ave. Midland, Texas 79701
| Idea Yukon | 7300 East Yukon Road Odessa, Texas 79765
| Idea Lopez | 3401 W. 5th St., Odessa, TX 79763
Greater Houston | Idea Hardy | 1930 Little York Rd. Houston, Texas 77093
| Idea Spears | 2010 Spears Rd. Houston, Texas 77067
| Idea Lake Houston | 5627 S Lake Houston Parkway Houston, Texas 77049
Tarrant County | Idea Rise | 3000 S. Cherry Lane Fort Worth, Texas 76116
| Idea Achieve | 1900 Thomas Road Haltom City, Texas 76117
| Idea Edgecliff | 1640 Altamesa Blvd. Fort Worth, Texas 76134
| Idea Southeast | 2935 E Seminary Drive Fort Worth, Texas 76119
| Idea AW Brown | 5701 Red Bird Center Dr, Dallas, TX 75237